## NPfI Calculator
[24 empty] | Difference between LAeq and Amenity |  |  | Difference between LAeq and Prj Amenity
Progress through the sheet from left to right | [15 empty] | Receiver Areas | [8 empty] | Project Trigger Level - Intrusive |  |  | Project Trigger Level - Amenity |  |  |  |  | Controlling Criteria |  | FINAL TABLE FOR REPORT
|  |  |  | Monitoring Data (paste in from logger sheets) dBA | [7 empty] | Check of RBLs
LEGEND |  |  |  |  | day | evening | night | day | evening | night | [5 empty] | Area / NCA | Period | Representative Logger | Area Type | Recommended Amenity Level LAeq(period) | Measured Level |  |  |  | Adjusted RBL | LAeq(15minute) (dBA) |  | Step 1 - Adjusted for other existing or future industry | Is Area Dominated by Existing Industry or Road Traffic Noise? | Step 2 - Adjustment for existing industry/traffic | LAeq(period) (dBA) | LAeq(15minute) (dBA) | Controlling Criteria |  | Area / NCA | Period | Representative Noise Logger | Recommended Amenity Noise Level LAeq(period) | Measured Noise Level (dBA) |  | Project Noise Trigger Levels LAeq(15minute) (dBA)
| << User Entry or Selection Cell |  |  | ID | RBL Day | RBL Evening | RBL Night | Leq Day | Leq Evening | Leq Night | ID | ABL Day L90 | ABL Evening L90 | ABL Night L90 | [6 empty] | RBL | LAeq(period) |  |  |  | Intrusive |  |  |  |  | Amenity | Amenity | LAeq(15minute) (dBA) | [5 empty] | RBL1 | LAeq(period) | Intrusiveness | Amenity2,3
| << Table notes for Report |  |  | L01 | 57 | 54 | 43 | 69 | 68 | 64 | L01 | - | - | - |  | 1 | Daytime | L01 | Urban | 60 | 57 | 69 |  | 9 | 57 | 62 | 9 | 60 | No | N/A | 60 | 63 | Intrusive | 62 | 1 | Daytime | L01 | 60 | 57 | 69 | 62 | 63
|  |  |  | L02 | 63 | 64 | 61 | 67 | 67 | 66 | L02 | - | RBL higher than day | - |  |  | Evening | L01 | Urban | 50 | 54 | 68 |  | 18 | 54 | 59 | 18 | 50 | No | N/A | 50 | 53 | Amenity | 53 |  | Evening | L01 | 50 | 54 | 68 | 59 | 53
Minimum RBLs |  |  |  | L03 | [6 empty] | L03 | - | - | - |  |  | Night-time | L01 | Urban | 45 | 43 | 64 |  | 19 | 43 | 48 | 19 | 45 | No | N/A | 45 | 48 | Amenity | 48 |  | Night-time | L01 | 45 | 43 | 64 | 48 | 48
|  |  |  | L04 | [6 empty] | L04 | - | - | - |  | 2 | Daytime | L02 | Urban | 60 | 63 | 67 |  | 7 | 63 | 68 | 7 | 60 | No | N/A | 60 | 63 | Amenity | 63 | 2 | Daytime | L02 | 60 | 63 | 67 | 68 | 63
Period | RBL |  |  | L05 | [6 empty] | L05 | - | - | - |  |  | Evening | L02 | Urban | 50 | 64 | 67 |  | 17 | 63 | 68 | 17 | 50 | No | N/A | 50 | 53 | Amenity | 53 |  | Evening | L02 | 50 | 63 (64 actual) | 67 | 68 | 53
Daytime | 35 |  |  | L06 | [6 empty] | L06 | - | - | - |  |  | Night-time | L02 | Urban | 45 | 61 | 66 |  | 21 | 61 | 66 | 21 | 45 | No | N/A | 45 | 48 | Amenity | 48 |  | Night-time | L02 | 45 | 61 | 66 | 66 | 48
Evening | 30 |  |  | L07 | [6 empty] | L07 | - | - | - |  | 4 | Daytime |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - | 4 | Daytime | - | - | - | - | - | -
Night-time | 30 |  |  | L08 | [6 empty] | L08 | - | - | - |  |  | Evening |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Evening | - | - | - | - | - | -
|  |  |  | L09 | [6 empty] | L09 | - | - | - |  |  | Night-time |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Night-time | - | - | - | - | - | -
Recommended Amenity Noise Levels |  |  |  | L10 | [6 empty] | L10 | - | - | - |  | 3 | Daytime |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - | 3 | Daytime | - | - | - | - | - | -
|  |  |  | L11 | [6 empty] | L11 | - | - | - |  |  | Evening |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Evening | - | - | - | - | - | -
Period | Rural | Suburban | Urban | L12 | [6 empty] | L12 | - | - | - |  |  | Night-time |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Night-time | - | - | - | - | - | -
Daytime | 50 | 55 | 60 | L13 | [6 empty] | L13 | - | - | - |  | E | Daytime |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - | E | Daytime | - | - | - | - | - | -
Evening | 45 | 45 | 50 | L14 | [6 empty] | L14 | - | - | - |  |  | Evening |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Evening | - | - | - | - | - | -
Night-time | 40 | 40 | 45 | L15 | [6 empty] | L15 | - | - | - |  |  | Night-time |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Night-time | - | - | - | - | - | -
|  |  |  | L16 | [6 empty] | L16 | - | - | - |  | F | Daytime |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - | F | Daytime | - | - | - | - | - | -
LAeq(Period) to LAeq(15 min) Correction |  |  |  | L17 | [6 empty] | L17 | - | - | - |  |  | Evening |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Evening | - | - | - | - | - | -
|  |  |  | L18 | [6 empty] | L18 | - | - | - |  |  | Night-time |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Night-time | - | - | - | - | - | -
3 | << (Default in NPfI is +3 dB) |  |  | L19 | [6 empty] | L19 | - | - | - |  | G | Daytime |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - | G | Daytime | - | - | - | - | - | -
|  |  |  | L20 | [6 empty] | L20 | - | - | - |  |  | Evening |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Evening | - | - | - | - | - | -
[17 empty] | Night-time |  |  | - | - | - |  | - | - | - | - | - |  | - | - | - | - | - |  | Night-time | - | - | - | - | - | -
Other Industry (Existing or Future) |  |  |  | General Table Notes | [7 empty] | Notification | Applicable table note
No | << Is any other industry present or likely to be introduced in the future? |  |  | Note 1: RBL = Rating Background Level | [7 empty] | RBL lower than minimum | Note X: The NPfI minimum RBL value has been used due to the measured RBL being lower than the minimum value. |  | < | < | < | < | < | < | < | < | < |  | ^^ if cell is purple, see applicable table note for that logger |  |  |  | Notification | Applicable table note |  |  |  |  | Remember to insert the applicable table notes below the table, and the note number in superscript next to the applicable cells in the table
|  |  |  | Note 2: No other sources of industrial noise are present in the area and are not likely to be in the future. As such, the recommended amenity noise levels have been taken as the project amenity noise levels, as outlined in the NPfI. | [7 empty] | RBL higher than day/eve | Note X: RBL reduced to match the daytime/evening RBL, as outlined in the NPfI. | [15 empty] | -10dB (Industry) | Note X: The measured LAeq noise level was dominated by existing industrial noise and exceeds the project amenity noise level by 10 dB or more, therefore, the amenity noise level is the existing LAeq(industrial) noise level minus 10 dB, as outlined in the NPfI.
Note 2 changes depending on the presence of other industrial noise, as specified in Cell B28. | [28 empty] | -15dB (Traffic) | Note X: The measured LAeq noise level was dominated by existing road traffic noise and exceeds the recommended amenity noise level by 10 dB or more, therefore, the ‘high traffic project amenity noise level’ is the existing LAeq(traffic) noise level minus 15 dB, as outlined in the NPfI.
Note 3: The project amenity noise levels have been converted to a 15 minute level by adding 3 dB, as outlined in the NPfI.
Cluster of Industry (Section 2.4.2 of NPfI)
[28 empty] | ANL = recommended Amenity noise level | 55
[28 empty] | N = number of proposed additional premises | 1
+3 (for 15min)
[28 empty] | Individual project amenity noise level (including -5dB) | 50 | 53
[28 empty] | Individual project amenity noise level (without -5dB) | 55 | 58